## Slide 1: Microphysical properties of ESCAPE clouds as measured by HOLODEC
Nithin Allwayin, Elise Rosky, Raymond Shaw
Michigan Technological University

## Slide 2: Example Flight Segments
C-RF 06 – Warm Cloud
  21:23:45-21:24:25 UTC
C-RF 12 – Mixed Phase cloud
  23:18:40-23:19:25 UTC

## Slide 3: C- RF12

## Slide 4: C-RF12- HOLODEC vs CDP
Reasonable agreement between CDP and HOLODEC number concentrations.
Some holograms are corrupted by water on the instrument windows

## Slide 5: C-RF- HOLODEC sample volume

## Slide 6: C-RF12: Clusters of similar droplet size distribution
3 clusters of holograms having similar droplet size distributions are identified
Allwayin, N., Larsen, M. L., Shaw, A. G., & Shaw, R. A. (2022). Automated Identification of Characteristic Droplet Size Distributions in Stratocumulus Clouds Utilizing a Data Clustering Algorithm, Artificial Intelligence for the Earth Systems, 1(3), e220003. Retrieved Nov 10, 2022, from https://journals.ametsoc.org/view/journals/aies/1/3/AIES-D-22-0003.1.xml

## Slide 7: C-RF12: Clusters of similar droplet size distribution
Each cluster correspond to distinct distribution shapes.
There might be a possible fourth cluster not identified by the algorithm (possibly due to threshold of minimum number of holograms needed to form a cluster).

## Slide 8: RF12- number concentration time series

## Slide 9: RF12- number concentration with clusters

## Slide 10: C-RF12 – Liquid Water Content Comparison

## Slide 11: C-RF12 – Liquid Water Content with Clusters

## Slide 12: C-RF12 –Vertical velocity with Clusters

## Slide 13
Short Columns
Small Ice
<20um
Irregular
Frozen Droplets
Long Columns
Plate Assemblages

## Slide 14
Time series of crystal habits

## Slide 15
Time series of crystal habits

## Slide 17: C- RF06

## Slide 18: Updraft Core (~4.7 m/s)

## Slide 19: C-RF06- CDP & HOLODEC number concentration
Holodec Number Conc
= 277 #/cc
Holodec LWC = 0.5 g/m3
CDP LWC = 1 g/m3

## Slide 20: C-RF06- HOLODEC number concentration

## Slide 21: C-RF06- HOLODEC – Mixing Diagram
Indication of Inhomogeneous mixing

## Slide 22: HOLODEC preliminary results C-RF06
Holodec and CDP droplet distributions have similar shape, but peak is shifted
The mixing signatures indicate inhomogeneous mixing

## Slide 23: HOLODEC preliminary results C-RF12
LIQUID
There are regions with different droplet size distributions within a single cell
The clusters align well with different vertical velocity regions
ICE
The ice concentrations tend to change at the cluster transition points.
The liquid droplet size distribution prior to ice formation seems to have an influence on the ice habits that arise.